AI-Based Screening System for Diabetic Retinopathy, Hypertensive Retinopathy, and Glaucoma

Book Review

Muhammad Arsal Saeed

Mashal Areej

# 1. Problem Statement

Diabetic retinopathy, hypertensive retinopathy, and glaucoma are among the leading causes of preventable blindness worldwide. All three conditions are silent — they cause no pain and produce no symptoms until significant and often irreversible damage has occurred. By the time a patient notices something is wrong with their vision, the window for effective intervention may have already closed.

Pakistan alone has over 33 million diabetic patients, the third highest total in the world, putting a massive population at risk of retinopathy. Glaucoma affects an estimated 80 million people globally. Hypertensive retinopathy is equally prevalent given that hypertension affects over 1.3 billion people worldwide. The core challenge is not just disease prevalence but a severe shortage of ophthalmologists, especially in smaller clinics and remote areas. Most patients are never screened until damage is already done.

This project directly addresses that gap by building an AI-powered screening system that analyses a standard fundus photograph and returns a clinically meaningful result in seconds, with no ophthalmologist required on site. The system is designed to run in any clinic with a browser, at zero recurring cost.

# 2. Development Approach: Agile and Scrum

This project follows the Agile methodology, specifically using Scrum as the framework for sprint planning and delivery. Agile was chosen over Waterfall for the following reasons:

| Aspect | Waterfall | Agile (our approach) |
| --- | --- | --- |
| Planning | All requirements defined upfront, no changes allowed | Requirements evolve with each sprint based on results |
| Delivery | Single delivery at the end of the project | Working deliverables at the end of every sprint |
| Risk | Problems discovered late when hard to fix | Problems caught early and fixed in the next sprint |
| Feedback | Client sees the system only at the end | Client sees progress every two weeks |
| Suitable for | Fully defined, stable requirements | Research and AI projects where results are unknown upfront |

In an AI project like this one, Waterfall is not viable. We could not know upfront whether a 5-block CNN would achieve 75% accuracy or whether U-Net would converge on 400 images. Each sprint produces a testable result and informs the decisions for the next sprint. This is the defining characteristic of Agile — iterative, incremental, and responsive to findings.

## 2.1 Scrum Structure

- Sprint length: one week per sprint

- Sprint goal: defined at the start of each week with one clear deliverable

- Daily standup (morning huddle): short daily update to the supervisor covering what was done yesterday, what is planned today, and any blockers

- Sprint review: demonstration of working output at the end of each sprint

- Sprint retrospective: brief reflection on what can be improved in the next sprint

3. Datasets Used

Some of the following publicly available datasets are used in this project till now. We will use the rest in the upcoming sprints. No proprietary or paid data has been used at any stage.

| Dataset | Source | Size | Used for |
| --- | --- | --- | --- |
| APTOS 2019 Blindness Detection | Kaggle / Aravind Eye Hospital | 2,930 images, grades 0 to 4 | Primary DR training dataset |
| Resized EyePACS Diabetic Retinopathy | Kaggle / California Healthcare Foundation | 88,700 images, grades 0 to 4 | DR training volume, rare class balancing |
| Glaucoma Datasets (ORIGA, REFUGE, G1020) | Kaggle / arnavjain1 | ~2,870 images with disc and cup masks | Glaucoma U-Net segmentation training |
| IDRiD — Indian Diabetic Retinopathy Image Dataset | Kaggle | 516 images with lesion annotations | Planned for DR validation and Grad-CAM verification in Week 3 |
| Hypertensive Retinopathy Fundus Dataset | Kaggle | ~1,000 images | Planned for Week 3 hypertensive retinopathy branch |

APTOS and EyePACS have been merged into a single unified training CSV of 91,630 images. All image paths are verified before training and zero missing files confirmed.

# 4. Literature Review

The following published works directly informed the architecture and methodology of this project. Only datasets and papers that were actually used or directly relevant are cited.

## 4.1 Foundational DR Screening Research

Gulshan et al. (2016) — Development and Validation of a Deep Learning Algorithm for Detection of Diabetic Retinopathy

Published in Nature by a Google team. Trained a deep CNN on 128,175 labeled retinal images and achieved sensitivity and specificity exceeding practising retinal specialists. This paper established that a CNN trained on large fundus photograph datasets can reliably detect diabetic retinopathy at a clinically meaningful level. Our project follows the same core methodology — a CNN trained on labeled fundus images — but builds the architecture from scratch rather than using pretrained models.

## 4.2 Glaucoma Segmentation

Ronneberger, Fischer and Brox (2015) — U-Net: Convolutional Networks for Biomedical Image Segmentation

The original U-Net paper, published at MICCAI 2015. Introduced an encoder-decoder architecture with skip connections designed for biomedical image segmentation. Demonstrated that U-Net can be trained on very small datasets with aggressive augmentation and still achieve strong segmentation performance. U-Net is the direct architectural basis for our glaucoma model. We built it from scratch following this paper.

Orlando et al. (2020) — REFUGE Challenge: A Unified Framework for Evaluating Automated Methods for Glaucoma Assessment

Describes the REFUGE dataset used for glaucoma training — 1,200 fundus images with expert optic disc and cup segmentation masks. The best performing challenge methods reported disc Dice scores around 0.95 and cup Dice scores around 0.85. Our model achieved disc Dice 0.9391 and cup Dice 0.8343 after 50 epochs, placing within the range of published challenge results training entirely from scratch.

## 4.3 CNN Architecture References

Simonyan and Zisserman (2014) — VGGNet

Established that repeated small 3x3 convolution filters stacked in sequence produce strong image recognition performance. Our DR CNN follows this principle with 5 convolutional blocks of increasing channel depth (32, 64, 128, 256, 512).

He et al. (2016) — ResNet

Introduced residual connections (skip connections) that prevent vanishing gradients in deep networks. Skip connections are directly implemented in our U-Net glaucoma model between encoder and decoder levels to preserve fine spatial detail in the segmentation output.

5. Weekly Sprints (Agile/Scrum)

The project is structured into five one-week sprints. Each sprint has a defined goal, specific tasks, and a measurable deliverable. Sprint 1 is complete. Sprints 2 through 5 are the remaining weeks.

## Sprint 1 — Week 1 (Complete)

Goal: Build a working end-to-end pipeline from fundus image to clinical result.

| Task | Owner | Status | Output |
| --- | --- | --- | --- |
| GitHub repo setup, folder structure | Both | Done | Repo live at github.com/arsalsaeed27/AI-Based-Screening-System |
| APTOS + EyePACS datasets merged | Arsal | Done | 91,630 image unified training CSV, zero missing files |
| dataset.py — image preprocessing pipeline | Arsal | Done | Confirmed: correct batch shape, pixel range 0 to 1 |
| model.py — custom CNN from scratch | Arsal | Done | 5-block CNN, 1.7M parameters, correct output shape |
| train.py — training loop with checkpointing | Arsal | Done | 30 epochs on 91,630 images, best val accuracy 75.29% |
| export.py — ONNX export | Arsal | Done | final_dr_model.onnx exported and confirmed loadable |
| server.js — Node.js backend with /predict | Mashal | Done | Live inference endpoint returning grade, confidence, referral |
| index.html — clinical frontend with PDF report | Mashal | Done | Full UI with patient form, results, jsPDF clinical report |
| End-to-end test | Both | Done | Real fundus image uploaded, correct prediction returned |
| glaucoma_dataset.py, unet.py, train_glaucoma.py | Mashal | Done | U-Net trained 50 epochs, Dice Disc 93.91%, Dice Cup 83.43% |
| Glaucoma ONNX export + /predict-glaucoma endpoint | Both | Done | CDR calculation working, risk tiers returning correctly |
| Glaucoma results panel in frontend | Arsal | Done | CDR gauge, color-coded risk box, plain English explanation |

Sprint 1 results summary:

- DR model: 75.29% validation accuracy on 91,630 images, training from scratch

- Glaucoma model: Dice Disc 93.91%, Dice Cup 83.43% on REFUGE dataset, training from scratch

- CDR validation on 20 held-out images: average error 0.243, model consistently conservative (over-flags rather than misses)

- Full clinical system working end to end in browser

## Sprint 2 — Week 2 (Current week)

Goal: Add hypertensive retinopathy branch, improve DR accuracy, add Grad-CAM heatmap.

| Task | Priority | Notes |
| --- | --- | --- |
| Hypertensive retinopathy — hr_dataset.py | High | Same CNN architecture as DR, different dataset and labels |
| Train HR model on hypertensive retinopathy dataset | High | ~1,000 images, expect lower accuracy than DR due to dataset size |
| Export HR model to ONNX, add /predict-hr to backend | High | Same pattern as DR and glaucoma endpoints |
| Add HR results section to frontend | High | Severity grade, referral guidance matching clinical guidelines |
| Grad-CAM heatmap implementation | Medium | Generate heatmap overlay showing where model focused on retina |
| Image quality gate | Medium | Reject blurry or badly exposed images before inference |
| Re-train DR model with IDRiD data added | Low | If time allows — expected to push accuracy from 75% toward 78% |

## Sprint 3 — Week 3

Goal: Validate all three models, fix edge cases, prepare deployment.

| Task | Notes |
| --- | --- |
| Run sensitivity, specificity, AUC on DR model | Use APTOS val split. Target: sensitivity above 80% on grades 3 and 4 |
| Run Dice score validation on full 400 REFUGE val images | Extend current 20-image test to full set, report mean CDR error |
| Test HR model on held-out images | Compare predicted vs actual HR grade if labels are available |
| Fix edge cases: blurry images, borderline predictions | Quality gate should reject images with OpenCV blur score below threshold |
| Full three-model end-to-end test | Upload one fundus image, get DR grade, glaucoma CDR, and HR grade together |
| Prepare Docker container for deployment | Dockerfile for Node.js backend |

## Sprint 4 — Week 4

Goal: Deploy to public URL, prepare client demo, write documentation.

| Task | Notes |
| --- | --- |
| Deploy to Hugging Face Spaces | Free hosting, browser accessible, no credit card |
| README and API documentation | How to run locally, how to add new models, known limitations |
| Client demo preparation | Rehearse live fundus image upload showing all three conditions |
| Final accuracy report | One-page summary of all model metrics for client handover |
| Bug fixes and UI polish | Any remaining issues found during demo rehearsal |
| Final code cleanup and push | Remove test files, clean up notebooks, push final version to GitHub |

## Sprint 5 — Week 5

Goal: Buffer week for any slippage, extended validation, potential version 2 planning.

| Task | Notes |
| --- | --- |
| Re-train DR model if accuracy is below 75% | Only if Sprint 2 retrain with IDRiD did not complete |
| Hypertensive retinopathy improvements | If HR model accuracy is too low, explore data augmentation or architecture changes |
| Version 2 scoping with client | Discuss adding more conditions, mobile app, or hospital system integration |
| Any remaining documentation | Book review final version, project plan update |
| Presentation preparation | Final slides and live demo for supervisor review |

6. Results Achieved to Date

The following results have been confirmed on held-out validation data that the models never saw during training.

| Model | Metric | Our result | Published benchmark |
| --- | --- | --- | --- |
| DR CNN | Validation accuracy | 75.29% | From-scratch models on similar data: 72 to 80% |
| DR CNN | Training dataset size | 91,630 images | APTOS + EyePACS merged |
| DR CNN | Epochs trained | 30 epochs from scratch | No pretrained weights used |
| Glaucoma U-Net | Dice score — Optic Disc | 93.91% | REFUGE challenge top methods: 92 to 95% |
| Glaucoma U-Net | Dice score — Optic Cup | 83.43% | REFUGE challenge top methods: 80 to 85% |
| Glaucoma U-Net | CDR error on val set | 0.243 average (20 images tested) | Model conservatively overestimates, safer for screening |
| Glaucoma U-Net | Training dataset | 400 images (REFUGE train split) | No pretrained weights used |
| System | Inference speed | Under 3 seconds on CPU | No GPU required at clinic |
| System | Deployment cost | Zero recurring cost | Free hosting on Hugging Face Spaces |

# 7. Model Architectures

## 7.1 Diabetic Retinopathy CNN

| Layer | Type | Output channels |
| --- | --- | --- |
| Block 1 | Conv2d, BatchNorm2d, ReLU, MaxPool2d | 32 |
| Block 2 | Conv2d, BatchNorm2d, ReLU, MaxPool2d | 64 |
| Block 3 | Conv2d, BatchNorm2d, ReLU, MaxPool2d | 128 |
| Block 4 | Conv2d, BatchNorm2d, ReLU, MaxPool2d | 256 |
| Block 5 | Conv2d, BatchNorm2d, ReLU, MaxPool2d | 512 |
| Pooling | AdaptiveAvgPool2d to 1x1 | 512 |
| FC 1 | Linear 512 to 256, ReLU, Dropout 0.5 | 256 |
| FC 2 (output) | Linear 256 to 5, Softmax | 5 class probabilities |

- Total trainable parameters: 1,703,173

- Input: 3 x 224 x 224 (RGB fundus photograph, normalized to 0 to 1)

- Output: 5 softmax probabilities for ICDR grades 0 through 4

- Loss: CrossEntropyLoss with class frequency weighting

- Optimizer: Adam, learning rate 0.001

## 7.2 Glaucoma U-Net

- Total trainable parameters: 31,043,586

- Input: 3 x 512 x 512 (RGB fundus photograph, CLAHE enhanced, normalized)

- Output: 2 x 512 x 512 (channel 0 = optic disc mask, channel 1 = optic cup mask)

- Architecture: 4-level encoder (3 to 64 to 128 to 256 to 512), 1024-channel bottleneck, symmetric decoder with skip connections

- Loss: BCELoss + Dice Loss combined

- Optimizer: Adam with ReduceLROnPlateau scheduler (factor 0.5, patience 5)

- CDR calculated from mask: cup pixel count divided by disc pixel count

# 8. Technology Stack

| Layer | Technology | Purpose |
| --- | --- | --- |
| Model training | PyTorch (from scratch) | Custom CNN and U-Net, no pretrained weights |
| Preprocessing | OpenCV, NumPy | Black border crop, CLAHE contrast, resize |
| Model export | ONNX opset 18 | Portable model file, language agnostic |
| Backend | Node.js, Express | REST API, file uploads, inference serving |
| Inference | onnxruntime-node | CPU-only inference, no GPU at clinic |
| Image processing (Node) | Sharp, Multer | Server-side resize and upload handling |
| Frontend | Plain HTML, CSS, JS | Clinical UI with jsPDF report export |
| Version control | GitHub | Shared repo, both team members pushing |
| Training compute | Kaggle T4 GPU | Free GPU, 30 hours per week |
| Hosting | Hugging Face Spaces | Free deployment, browser accessible |

# 9. Definition of Done

The project is considered complete when all of the following criteria are met:

- DR model achieves at least 75 percent validation accuracy on the merged dataset — ACHIEVED 75.29%

- Glaucoma model produces Dice score above 0.70 for disc and cup — ACHIEVED 0.9391 and 0.8343

- Hypertensive retinopathy model trained and returning a severity grade

- The /predict endpoint returns a result in under 5 seconds on CPU

- The /predict-glaucoma endpoint returns CDR and risk flag

- The /predict-hr endpoint returns HR severity grade

- Grad-CAM heatmap overlaid on the fundus image in results view

- Image quality gate rejects blurry or badly exposed images

- System deployed at a public URL accessible from any browser

- Real fundus image uploaded live during client demo returns correct results

- All code pushed to GitHub with README

# 10. References

- Gulshan V, Peng L, Coram M, et al. (2016). Development and Validation of a Deep Learning Algorithm for Detection of Diabetic Retinopathy in Retinal Fundus Photographs. JAMA, 316(22), 2402-2410.

- Ronneberger O, Fischer P, Brox T. (2015). U-Net: Convolutional Networks for Biomedical Image Segmentation. Medical Image Computing and Computer-Assisted Intervention (MICCAI), Springer.

- Orlando JI, Fu H, Breda JB, et al. (2020). REFUGE Challenge: A Unified Framework for Evaluating Automated Methods for Glaucoma Assessment from Fundus Photographs. Medical Image Analysis, 59, 101570.

- Simonyan K, Zisserman A. (2014). Very Deep Convolutional Networks for Large-Scale Image Recognition. arXiv:1409.1556. Accepted at ICLR 2015.

- He K, Zhang X, Ren S, Sun J. (2016). Deep Residual Learning for Image Recognition. Proceedings of the IEEE CVPR, 770-778.

- APTOS 2019 Blindness Detection. (2019). Kaggle Competition Dataset. Aravind Eye Hospital, India. kaggle.com/c/aptos2019-blindness-detection

- Diabetic Retinopathy Detection — EyePACS. (2015). Kaggle Competition Dataset. California Healthcare Foundation. kaggle.com/c/diabetic-retinopathy-detection

- Glaucoma Datasets (ORIGA, REFUGE, G1020). Kaggle Dataset. kaggle.com/datasets/arnavjain1/glaucoma-datasets

AI-Based Retinal Screening System   |   MCS NUST   |   Agile Sprint Plan   |   July 2026